## Sheet1
Fan Coil Unit Cross Reference Guide
DESCRIPTION | JCI | FIRST CO. | ETI ENVIROTEC | AIR TEMP. | AIR THERM | CARRIER | DUNHAM BUSH | IEC | MAGIC AIRE | MCQUAY | SIERRA | TITUS | TRANE | WHALEN | WILLIAMS OR ICE-CAP
HORIZONTAL
HORIZONTAL CONCEALED | FHF | HBC/HH | HLF | HS | CC | 42CAA | CR-CB | CHY | CHX/CHP/CHW | TSH | KFUD | HBC | C32/FCC | - | LH-B
HORIZONTAL CONCEALED W/PLENUM OPTION | FHP | PHBC/PHH | HLP | HR | CP-A/CP-B | 42CEA | CR-CBP | CPY | CHX/CHP/CHW | TSH | KFUD | HBP | C34 | - | LH-R
HORIZONTAL CONCEALED HIGH STATIC | - | - | - | HQ | CC | 42CFA | CR-CBH | BHY | CHX/CHP/CHW | - | KFUD | HHC | C32/G4mtr | - | HH-B
HORIZONTAL CONCEALED W/PLENUM OPTION - HIGH STATIC | - | - | - | - | - | 42CFA W/PL | CR-CBHP | BPY | CHX/CHP/CHW | - | KFUD | HHP | - | C34/G4mtr | HH-R
HORZONTAL CONCEALED TELESCOPING PANEL | FHP | RHBC | HLP | HT | CR | 42CKA | CR-CT | CBY | CHX/CHP/CHW | TCH | KFTA |  | E/FCE | - | LH-F
HORZONTAL EXPOSED | FHX | CHBC | HLE | HC | C-A/C-B | 42CGA | CR-CC | CXB | CCX/CCP | TSC | KFUD | HHE | D/FCD | - | LH-D
VERTICAL
VERTICAL CONCEALED W/PLENUM OPTION | FWC | VCB | VFC | FR | CF | 42VAA | CR-FB | FHY | DUX/DUP | TSB | - | VBC | - | - | LV-B
VERTICAL EXPOSED | FWX | VFB | VFE | FC | F | 42VBA | CR-FC | FXY | KVX/KVP | TSF | - | VBF | - | - | LV-D
VERTICAL EXPOSED W/SLOPED TOP | FWI | VSB | VFS | FB | SF | 42VFA | CR-FCS | FXSY | - | TSF | - | VBA | - | - | -
LOWBOY CONCEALED | FLC | - | VLC | LR | - | 42VCA | CR-LFB | LHA | - | LFB | - |  | - | - | -
LOWBOY EXPOSED | FLX | - | VLE | LC | - | 42VEA | CR-LFC | LXA | - | LFS | - |  | - | - | -
MODULAR HIGH RISE
COLUMN CONCEALED | FSC | - | VHC | MR | G | 42SGA | - | - | MPY | HSB | - | VSR | - | SIZED | ER
COLUMN EXPOSED | FSX | - | VHE | MC | P | 42SHA | - | - | MXY | - | - |  | - | BY | -
COLUMN CONCEALED DUAL | FSA/FSB | - | VHA/VHB | MD | - | 42SJA | - | - | MAY/MBY | - | - | VSM/VSS | - | CFM | -
COLUMN MASTER/SLAVE | FSM/FSS | - | VHM/VHS | - | - | 42SGA | - | - | MMY/MSY | - | - | VSRM/VSRS | - | 200-800 | -
CLOSET UNITS
VERTICAL BELT DRIVE | ACB/ACR | MB | VB/VR | - | - | - | - | - | - | - | - |  | - | - | -
VERTICAL DIRECT DRIVE | FCC | CW | CDV | - | - | 42DD | - | - | DVW/DVX | - | - | VHC | - | - | CV
HIGH PERFORMANCE
DUCTED CONCEALED | FNF | HYB | HPF | AS | - | 42DAA | CR-HB | HHY | - | SHD | - | - | - | - | HH-B
DUCTED CONCEALED W/PLENUM | FNP | PHYB | HPP | AR | - | 42DCA | CR-HBP | HPY | - | SHD | - | - | - | - | HH-R
DUCTED EXPOSED | FNX | CHBC/CHW-DD | HPE | AC | - | 42DEA | CR-HC | HXY | DHX/DHW | SCD | - | - | - | - | -
DUCTED EXPOSED - LOW STATIC | - | CHW-DD | - | - | - | 42DFA | CR-HE | HXLY | DHX/DHW | - | - | - | - | - | -
DUCTED EXPOSED - VERTICAL | - | MB/CCW | - | - | - | 42DDA | CR-VC | VEY | DVW/DVX | AVD | - | - | - | - | AHV
BELT DRIVE
HORIZONTAL BELT DRIVE | AHI | SHW/SHX | H/HM | CV | AHW/AHX | 42BHA/40LT | - | HBA | BHW/BHX | SCB/SHB | - | - | - | - | AH
VERTICAL BELT DRIVE | AVI | SVW/SVX | V/VM | - | - | - | - | - | BVX | - | - | - | - | - | AHV
MODULAR BELT DRIVE | AMI | - | MQL | - | - | - | - | - | BMX | - | - | - | - | - | -
This guide is intended as a reference only, and should be checked against manufacturer's latest literature prior to bidding.
Please contact Commercial Products with any comments or suggestions at (717) 771-7073 or cg-escommercial@jci.com